## System Information Sheet
VCT GOC6.6 Z840 System Information Sheet
DAS Type | Check
VDAS64 |  |  | Yes
HDAS64 |  |  | Installed
HDAS SATURN 64 |  |  | HES
VES
Installed Software Option Key | Check | Note
3000 Image Series |  |  | kPa
AutoFilter-and-Transfer |  |  | kg/cm2
AutomA |  |  | PSI
Connect Pro
CopyComposer |  |  | None
Data Export |  |  | IVY 7800
Direct-MPR |  |  | IVY 3150
NeuroFilter |  |  | IVY 3100
Patient-64-slice |  |  | INVIVO MILLENNIA
Smart Prep
Smart Speed
Exam Split
VolumeViewer
ASiR
CardIQ Snapshot
CardIQ Snapshot-Cine (SSP)
EKG Viewer
SmartScore Pro
Sub-0.4-Second-Scan
NoiseReductionFilter
VCT-85kW-Power
VCT-Hi(100kW)-Power
AutoBone |  | To be replaced with "AutoBone_Xpress"
AdvVesselAnalysis |  | To be replaced with "AVA_Xpress"
AWE connection
AxialShuttle
CardEP
CardIQPlus |  | To be replaced with "CardIQ_Xpress_Reveal"
CTColonoPro |  | To be replaced with "CT_Colono_Pro3D_EC"
CTPerfusion4 |  | To be replaced with "CT_Perfusion_4D_MultiOrgan"
CTPerfusion4_Neuro |  | To be replaced with "CT_Perfusion_4D_Neuro"
DentaScan
Enhanced Rotor Management-DS
Enhanced Xtreme Injector
HelicalShuttle
Real Time CT Fluoro
SmartStep
Xtream Injector (Class I)
ConnectPro | Current Setting | Note
HIS Server IP Address
HIS Server AE Title
HIS Server AE Port #
CT Server AE Title
HIS Server IP Address
HIS Server AE Title
HIS Server AE Port #
CT Server AE Title
Exam Split | Current Setting | Note (How to check the setting)
Exam Split Type (VES / HES) |  | 1. Open Unix shell and and log on as root. 2. Type: ls -l ~ctuser/ves/.hesMode 3. If there is .hesMode file, it’s HES mode. If not, It’s VES mode.
Xtream injector / Enhanced Xtream injector | Current Setting | Note (How to check the setting)
Injector：Pressure unit (kPa / "kg/cm2" / PSI) |  | CSD -> Configuration -> Injector: Pressure Limit Unit
Remote Archive Device | Current Setting | Note (How to check the setting)
Selected archive device |  | Image Works -> Archive -> Selected Archive Device
AWE Connection | Current Setting | Note (How to check the setting)
AW Server IP Address |  | CSD -> Configuration -> Configure AW Server Client
Login User Name
Login Password (this is masked by *)
Smart score Pro | Current Setting | Note (How to check the setting)
Cardiac monitor (None / IVY 7800 / IVY 3150 / IVY 3100 / INVIVO MILLENNIA) |  | CSD -> Configuration -> Install Gating Monitor