[image: image1.png]



GE Medical Systems
[image: image1.png]
Technical 

Publications
GE medical systems
SIGNA OPENSPEED SITE screening SURVEY

REV 1
DIRECTION 2267841


Direction 2267841      
Revision 1

Signa® OpenSpeed 

Site Screening Survey
Table Of Contents
3SECTION 1 – INTRODUCTION

1-1
Introduction
3
1-2
Electronically Completing This Document
3
1-3
Electronically Navigating Document Fields
3
SECTION 2 – SURVEY QUESTIONS
4
2-1
Introduction
4
2-2
Site Location & Survey Logistics
4
2-3
Room Layouts
4
2-3
Magnetic Field Considerations
4
2-4
Site Environment
5
2-4-1
Cooling Requirements
5
2-4-2
Altitude
5
2-4-3
Acoustics
5
2-4-4
Room Venting
5
2-4-5
Cryogenic Venting
6
2-4-6
Changing Magnetic Environment
6
2-4-7
Construction Materials
6
2-4-8
Vibration
6
2-5
POWER REQUIREMENTS
7
2-5
GROUNDING
7
SECTION 3 – ROUTING OF COMPLETED SURVEY
7
REVISION HISTORY
8

SECTION 1 – INTRODUCTION

1-1
Introduction
Due to the vertical field of the Signa OpenSpeed 0.7T Magnet, the site requirements are significantly different from other GE magnets.  Therefore, accurate completion of this detailed site screening survey is critical to making sure the site qualifies for order processing.

Refer to the Direction 2241391 Signa OpenSpeed Pre-Installation for information and specifications.

1-2
Electronically Completing This Document
This document is formatted in Microsoft WORD with Text Form Fields for entry of information and Check Box Fields for selections.  

Text Fields:

· The text fill-in fields are underlined blanks.

· The text field will expand if additional space is needed.

Check Box Fields:

· The checkbox fields appear as a box.

· Clicking on blank check box will change the box to checked (X), the check box can be toggled to no X by an additional click on check box. 

1-3
Electronically Navigating Document Fields  
You can move sequentially through the document text and check box fields by depressing the following keys.

Forward: Tab, Page Up, ( key.
Backward: Shift and Tab, Page Down, ( key.
Use the side scroll bar to move to other locations in the document (i.e. Table Of Contents (page 2)) or GoTo (under Edit) to select/move to a specific page number.

SECTION 2 – SURVEY QUESTIONS
2-1 Introduction  
All questions must be answered.  It is understood that remodeling may be required to meet requirements.  Please add a note under each section when remodeling will be needed.

2-2 Site Location & Survey Logistics

Customer Name:
     

Proposed Location Identifier:
     

Survey Completion Date:
     

Individual completing Survey:
     

Individual’s Title:
     

2-3 Room Layouts

QUESTION/PARAMETER
DIR. 2241391 SECTION REFERENCE
YES
NO

1. Can site design or remodeling meet all minimum room dimensions necessary for Signa OpenSpeed?
· 2-2 ROOM SIZES
 FORMCHECKBOX 

 FORMCHECKBOX 


2. Can site design or remodeling meet all requirements for Delivery of Magnet and System?
· 2-4 MINIMUM DOOR/HALLWAY SIZES
 FORMCHECKBOX 

 FORMCHECKBOX 


Notes/Comments:

     

2-3
Magnetic Field Considerations

QUESTION/PARAMETER
DIR. 2241391 SECTION REFERENCE
YES
NO

1. Can site design or remodeling meet Magnetic Field Considerations?
· Section 3 MAGNETIC FIELD CONSIDERATIONS
 FORMCHECKBOX 

 FORMCHECKBOX 


Notes/Comments: (Review magnetic shielding issues with Installation Services for feasibility and preliminary designs.)

     

2-4 Site Environment

2-4-1
Cooling Requirements

QUESTION/PARAMETER
DIR. 2241391 SECTION REFERENCE
YES
NO

1. Can site design or remodeling meet requirements for air flow exclusion zone in magnet room?
· 4-3 COOLING REQUIREMENTS
 FORMCHECKBOX 

 FORMCHECKBOX 


2. Can site design or remodeling meet minimum cooling requirements of system? 
· 4-3 COOLING REQUIREMENTS
 FORMCHECKBOX 

 FORMCHECKBOX 


Notes/Comments:

     

2-4-2
Altitude

QUESTION/PARAMETER
DIR. 2241391 SECTION REFERENCE
YES
NO

1. Does site meet the altitude requirement of Signa OpenSpeed?
· 4-4 ALTITUDE
 FORMCHECKBOX 

 FORMCHECKBOX 


Notes/Comments:

     

2-4-3
Acoustics

QUESTION/PARAMETER
DIR. 2241391 SECTION REFERENCE
YES
NO

1. Can site design or remodeling meet local codes and site acoustic requirements?
· 4-6 ACOUSTICS
 FORMCHECKBOX 

 FORMCHECKBOX 


Notes/Comments:

     

2-4-4
Room Venting

QUESTION/PARAMETER
DIR. 2241391 SECTION REFERENCE
YES
NO

1. Can site design or remodeling meet room ventilation requirements?
· 4-7 ROOM VENTILATION
 FORMCHECKBOX 

 FORMCHECKBOX 


Notes/Comments:

     

2-4-5
Cryogenic Venting

QUESTION/PARAMETER
DIR. 2241391 SECTION REFERENCE
YES
NO

1. Can site design or remodeling meet cryogenic ventilation requirements?
· 4-8 CRYOGENIC VENTILATION
 FORMCHECKBOX 

 FORMCHECKBOX 


Notes/Comments:

     

2-4-6
Changing Magnetic Environment

QUESTION/PARAMETER
DIR. 2241391 SECTION REFERENCE
YES
NO

1. Can site design or remodeling meet requirements for Changing Magnetic Environment?
· 4-12 CHANGING MAGNETIC ENVIRONMENT

· Include data from EMI SURVEY

(Reference: EMI TESTING STANDARD OPERATING PORCEDURE, For MR Profile and Signa Magnets, John Kuenzle, Owner)
 FORMCHECKBOX 

 FORMCHECKBOX 


Notes/Comments:

     

2-4-7
Construction Materials

QUESTION/PARAMETER
DIR. 2241391 SECTION REFERENCE
YES
NO

1. Can site design or remodeling meet considerations for construction materials?
· 4-13 CONSTRUCTION MATERIALS

· 4-13-1 Floors
 FORMCHECKBOX 

 FORMCHECKBOX 


Notes/Comments:

     

2-4-8
Vibration

QUESTION/PARAMETER
DIR. 2241391 SECTION REFERENCE
YES
NO

1.  Section 4-14 (Dir. 2241391) has been reviewed with customer and the customer understands that vibration  requirements must be met prior to magnet shipment?
· 4-14 VIBRATION
 FORMCHECKBOX 

 FORMCHECKBOX 


Notes/Comments:  (Please Note any specific areas of concern and/or issues that have been discussed with the customer.) 

     

2-5
POWER REQUIREMENTS

QUESTION/PARAMETER
DIR. 2241391 SECTION REFERENCE
YES
NO

1. Can site design or remodeling meet power requirements?
· 5-2 CRITICAL POWER REQUIREMENTS
 FORMCHECKBOX 

 FORMCHECKBOX 


Notes/Comments:

     

2-5
GROUNDING

QUESTION/PARAMETER
DIR. 2241391 SECTION REFERENCE
YES
NO

1. Can site design or remodeling meet grounding requirements?
· 5-4 GROUNDING
 FORMCHECKBOX 

 FORMCHECKBOX 


Notes/Comments:

     

SECTION 3 – ROUTING OF COMPLETED SURVEY  
Send the completed survey pages or entire document TO:

Process Leader
MR Siting & Shielding Team

Installation Services

GE Medical Systems

3114 N. Grandview Blvd.    W-522

Waukesha, Wi.   53188

(262) 548-4545, FAX (262)548-4575

John.Kuenzle@med.ge.com

REVISION HISTORY 
REV
DATE
AUTHOR
PRIMARY REASONS FOR CHANGE

0
5/26/00
D. Balis
Initial draft

1
6/9/00
B. Feltner
Added Site Location Sub-section





















Copyright© 2000 by General Electric Co.
Operating Documentation


2





