GE MEDICAL SYSTEMS
site LOG

REV 0
DIRECTION 2248330


MR CONFIGURATION
System ID:
     

Date (mm/dd/yy):
     
     
     
     

Software Revision:
     
     
     
     

Information Tape Backup Date:
     
     
     
     

Installed Options:
     
     
     
     


     
     
     
     


     
     
     
     


     
     
     
     


     
     
     
     

Network Data:
     
     
     
     


     
     
     
     


     
     
     
     


     
     
     
     


     
     
     
     

Camera Type:
     
     
     
     

Camera Settings:
     
     
     
     


     
     
     
     


     
     
     
     

Storage Type (Mag Tape, Dat, Etc.):
     
     
     
     

Internal Rev %:
     
     
     
     

Line Frequency:
     
     
     
     

Spectroscopy RF Amplifier:
     
     
     
     

Broadband Transceiver:
     
     
     
     

TR Dither:
     
     
     
     

RF Body Coil Vector Z %:
     
     
     
     

RF Body Coil Length:
     
     
     
     

RF Body Coil Radius:
     
     
     
     

RF Head Coil Vector Y:
     
     
     
     

RF Head Coil Vector Z:
     
     
     
     

RF Head Coil Radius:
     
     
     
     

RF Head Coil :
     
     
     
     

Setting On X-Grad For 1 Gauss/Cm:
     
     
     
     

Setting On Y-Grad For 1 Gauss/Cm:
     
     
     
     

Setting On Z-Grad For 1 Gauss/Cm:
     
     
     
     

Gradient Scaling Factor:
     
     
     
     

Minimum Gradient Ramp Time:
     
     
     
     

Head Coil Amp Calibration Factor:
     
     
     
     

Body Coil Amp Calibration Factor:
     
     
     
     

Type Of Magnet Configured:
     
     
     
     

Magnet Field Strength:
     
     
     
     

Isocenter Vector Along Z - Axis:
     
     
     
     

Table Movement Limit:
     
     
     
     

Beginning Of Travel (mm):
     
     
     
     

Max Grad Shim Value:
     
     
     
     

MR CONFIGURATION (continued)
System ID:
     

Date (mm/dd/yy):
     
     
     
     

AP Type (i860, PPC or MC3200):
     
     
     
     

Number of AP’s Configured:
     
     
     
     

Memory Size of AP0 (MB):
     
     
     
     

Memory Size of AP1 (MB):
     
     
     
     

# of TPS Memory Boards Configured:
     
     
     
     

Size of TPS Memory Board0 (MB):
     
     
     
     

Size of TPS Memory Board1 (MB):
     
     
     
     

Size of TPS Memory Board2 (MB):
     
     
     
     

Size of TPS Memory Board3 (MB):
     
     
     
     

Number of Receivers Configured:
     
     
     
     

Multi Coil T/R Driver Board Present:
     
     
     
     

Gradient Amplifier Type:
     
     
     
     

Notes:


     


































































PAGE  

Page 3 - ____
SITE INFORMATION




