GE MEDICAL SYSTEMS
site LOG

REV 0
DIRECTION 2248330


MR HELIUM BOILOFF DATA
System ID:
     

Magnet Serial # :
     

Magnet Type: 
     

Any compressor run time lower than expected, should be escalated immediately to the customer if customer controlled equipment is suspected as cause, i.e. generator, chiller, etc.

 
Helium Vessel Measurements


Change From Previous Reading
Calculated He Boil Off Rate

(Liters / Hour)

Date

(m-d)
FE Name
Time

(h:m)
He Meter (%)
Amount

(Liters)
He Vessel Pressure

(psi)
Delta

Liters
Delta

Time
Delta Liters / Delta Time

     
     
     
     
     
     
     
     
     

     
     
     
     
     
     
     
     
     

     
     
     
     
     
     
     
     
     

     
     
     
     
     
     
     
     
     

     
     
     
     
     
     
     
     
     

     
     
     
     
     
     
     
     
     

     
     
     
     
     
     
     
     
     

     
     
     
     
     
     
     
     
     

     
     
     
     
     
     
     
     
     

     
     
     
     
     
     
     
     
     

     
     
     
     
     
     
     
     
     

     
     
     
     
     
     
     
     
     

     
     
     
     
     
     
     
     
     

     
     
     
     
     
     
     
     
     

     
     
     
     
     
     
     
     
     

     
     
     
     
     
     
     
     
     

     
     
     
     
     
     
     
     
     

     
     
     
     
     
     
     
     
     

     
     
     
     
     
     
     
     
     

     
     
     
     
     
     
     
     
     

     
     
     
     
     
     
     
     
     

     
     
     
     
     
     
     
     
     

     
     
     
     
     
     
     
     
     

     
     
     
     
     
     
     
     
     

     
     
     
     
     
     
     
     
     

     
     
     
     
     
     
     
     
     

     
     
     
     
     
     
     
     
     

     
     
     
     
     
     
     
     
     

     
     
     
     
     
     
     
     
     

     
     
     
     
     
     
     
     
     

     
     
     
     
     
     
     
     
     

     
     
     
     
     
     
     
     
     

     
     
     
     
     
     
     
     
     

     
     
     
     
     
     
     
     
     

     
     
     
     
     
     
     
     
     

     
     
     
     
     
     
     
     
     

     
     
     
     
     
     
     
     
     

     
     
     
     
     
     
     
     
     

     
     
     
     
     
     
     
     
     

     
     
     
     
     
     
     
     
     

     
     
     
     
     
     
     
     
     

     
     
     
     
     
     
     
     
     

     
     
     
     
     
     
     
     
     

     
     
     
     
     
     
     
     
     

     
     
     
     
     
     
     
     
     




PAGE  

Page 2 - ____
TUBE/CRYO HISTORY




