GE MEDICAL SYSTEMS
site LOG

REV 0
DIRECTION 2248330


Cx & CXK4 (LCC) MAGNET SHIM DATA
System ID:
     

Magnet Serial #:
     

Date:
     

Magnet Type:
Cx  FORMCHECKBOX 

CXK4  FORMCHECKBOX 


Enter Initial Shim Currents  (
New Shim Currents

Power Supply Name
Iteration 1
Iteration 2
Iteration 3
Iteration 4
Iteration 5
Iteration 6
Iteration 7

AX-1
     
     
     
     
     
     
     

AX-2
     
     
     
     
     
     
     

AX-3
     
     
     
     
     
     
     

AX-4
     
     
     
     
     
     
     

AX-5
     
     
     
     
     
     
     

AX-6
     
     
     
     
     
     
     

T1-1
     
     
     
     
     
     
     

T1-2
     
     
     
     
     
     
     

T1-3
     
     
     
     
     
     
     

T1-4
     
     
     
     
     
     
     

T1-5
     
     
     
     
     
     
     

T1-6
     
     
     
     
     
     
     

T2-1
     
     
     
     
     
     
     

T2-2
     
     
     
     
     
     
     

T2-3
     
     
     
     
     
     
     

T2-4
     
     
     
     
     
     
     

T2-5
     
     
     
     
     
     
     

T2-6
     
     
     
     
     
     
     

Harmonic Coefficient
Harmonic Error (Hz Peak)

1, 0
     
     
     
     
     
     
     

2, 0
     
     
     
     
     
     
     

3, 0
     
     
     
     
     
     
     

4, 0
     
     
     
     
     
     
     

5, 0
     
     
     
     
     
     
     

6, 0
     
     
     
     
     
     
     

1,  1
     
     
     
     
     
     
     

1, -1
     
     
     
     
     
     
     

2,  1
     
     
     
     
     
     
     

2, -1
     
     
     
     
     
     
     

2,  2
     
     
     
     
     
     
     

2, -2
     
     
     
     
     
     
     

3,  1
     
     
     
     
     
     
     

3, -1
     
     
     
     
     
     
     

3,  2
     
     
     
     
     
     
     

3, -2
     
     
     
     
     
     
     

3,  3
     
     
     
     
     
     
     

3, -3
     
     
     
     
     
     
     

He Vessel Pressure
     
     
     
     
     
     
     

R1 / R2 / TG
     
     
     
     
     
     
     

System Frequency
     
     
     
     
     
     
     

Exam/Series/Image
     
     
     
     
     
     
     

Bandwidth Used
     
     
     
     
     
     
     

Basic/Stand/Full
     
     
     
     
     
     
     

STD Deviation (Hz)
     
     
     
     
     
     
     

Volume DSV (cm)
     
     
     
     
     
     
     

Shoulder (mm)
     
     
     
     
     
     
     

Spine (mm)
     
     
     
     
     
     
     




PAGE  

Page 6 - ____
MAGNET SHIM DATA




